## Slide 1: Getting Started
Dr. Noureddine Bekhouche
Dept. of Applied Engineering

## Slide 2: Router Setup
Connect PC/Laptop’s Ethernet port to one of four, 4, ports (not Internet) on the router.
192.168.10.99

## Slide 3: PLC-PC Link
Open the Do-more Designer program
Click on the NetEdit 3
NetEdit 3

## Slide 4: PLC-PC Link – Contd.
select TCP/IP tab and click on IP address tab
Enter the numbers below if different, click OK