## Slide 1: Programmable Logic Controllers (PLCs)
Dr. Noureddine Bekhouche
Dept. of Applied Engineering

## Slide 2: Definition
A PLC is a digital computer designed for use in machine control.
  Designed to operate in the industrial environment.
  Equipped with special input/output interfaces and a control programming language.
PC (Programmable Controller): Original Acronym

## Slide 3: PLC Advantage
Originally, to replace hardwired control relay
Relay
control
panel
PLC
control
panel

## Slide 4: PLC System
Consists of: CPU, I/O section, power supply, and a programming device.

## Slide 5: PLC System
CPU
Power
Supply
Input
Module
Output
Module

## Slide 6: Discrete/Analog I/Os
Discrete:
  Devices with on/off nature.
  Have only two states: On & Off
  Tied to discrete I/O modules.
Analog:
  Devices with a range of values.
  Tied to analog I/O modules.

## Slide 7: PLC Programming
Software on a PC
Languages
  Ladder Diagram (LD)
  Function Block Diagram (FBD)
  Sequential Flow Chart (SFC)
  Structured Text (ST)
Ladder Diagram

## Slide 8: PLC Programming
Software on a PC
Languages
  Ladder Diagram (LD)
  Function Block Diagram (FBD)
  Sequential Flow Chart (SFC)
  Structured Text (ST)
Ladder Diagram

## Slide 9: Contacts/Instructions
Contacts
  Normally Open (NO)
  Normally Closed (NC)
Instructions
  Examine ON or Examine if Closed (XIC)
  Examine OFF or Examine if Open (XIO)
Not fully interchangeable
XIC
XIO
Not always

## Slide 10: PLC Companies
Rockwell (Allen Bradley) – most in US
Siemens – most in Europe
Omron
ABB
Schneider (Modicon)
Mitsubishi - UK
GE
Bosch Rexroth
Beckhoff
Fuji
Toshiba
(Koyo) Automation Direct - Cheapest

## Slide 11: Do-More Designer
Contacts
  Normally Open (NO)
  Normally Closed (NC)
Instructions
  Examine ON or Examine if Closed (XIC)
  Examine OFF or Examine if Open (XIO)
Not fully interchangeable

## Slide 12: Do-More Designer
https://www.youtube.com/watch?v=jUugb68K41Q
Steps
  Create a new program
  Make changes
  Accept changes
  Connect to PLC
  Test the program

## Slide 13: Do-More Designer Cont…
Project Name
Hardware
Type

## Slide 14: Commands
Edit Mode
Accept
Write PLC
Status
Instructions
Rung 1
PLC Mode

## Slide 15: Ex1: Seal-in Circuit
A method of maintaining current flow after a momentary switch has been pressed and released.
  Start: Normally Open (NO)
  Stop: Normally Closed (NC)
Hardwired

## Slide 16: Control Relay
Consists of coil and contacts (NO and/or NC)
Other forms: Contactors, Motor starters, Relays
De-energized
Energized

## Slide 17: Do-more Simulator
A PLC in the software
Behavior: Like an actual hardware
Suitable for testing and teaching purposes

## Slide 18: HMI-Human Machine Interface
Other names:
  Man machine Interface (MMI), operator interface, touch screen
Characteristics:
  Control and manage an entire line from a single location (screen)
  No need to walk to devices to activate/de-activate (time and effort saved)
  Replacing hardwired pushbuttons and pilot lights by icons
  Buttons are activated by touching corresponding icons
  Displaying the operation in graphic format for easier viewing and in real time
  Changing the preset values for counters/timers using numeric keypad graphic on the screen
  Complete list of alarms with time and of occurrence and location
  Displaying variables as they change over time